## Slide 1
LungAI
AI-Powered Lung Disease Detection from Chest X-rays
Deep Learning system comparing a custom CNN and ResNet50 transfer learning
FastAPI • React • TensorFlow / Keras
Academic Project | v1.0

## Slide 2
Problem & Motivation
WHY THIS MATTERS
• Burden — Lung diseases (pneumonia, TB, COVID-19) are leading causes of death worldwide.
• Bottleneck — Chest X-ray interpretation needs trained radiologists, who are scarce in many regions.
• Delay — Slow diagnosis delays treatment and worsens outcomes.
• Variability — Manual reading is subjective and error-prone under heavy workloads.
• Opportunity — Deep learning can flag abnormalities quickly and consistently as a decision-support aid.
Project Goal
• Detect 7 lung conditions from a single chest X-ray
• Train & compare two algorithms (CNN vs ResNet50)
• Automatically select the best-performing model
• Serve predictions through a clean web application
• Store patients, scans, predictions & reports
Disclaimer: An academic decision-support prototype — it assists, not replaces, qualified physicians.

## Slide 3
System Architecture
END-TO-END PIPELINE
Frontend (React)
• Analyze: upload X-ray & view result
• Metrics: CNN vs ResNet charts
• History: past predictions
• Patients: record management
• Axios API service layer
Backend (FastAPI)
• REST API under /api/v1
• predict / predictions endpoints
• patients & reports CRUD
• ML inference engine
• Health check + logging
Data & ML
• TensorFlow / Keras models
• Preprocessing pipeline
• SQLAlchemy ORM database
• Trained .h5 model files
• Training curves & matrices
Flow: User uploads X-ray → React → FastAPI → Preprocess → Model inference → Prediction stored → Result + report

## Slide 4
Data Preprocessing Pipeline
FROM RAW X-RAYS TO MODEL-READY TENSORS
1. Scan Index all images & labels
2. Clean Drop duplicates, corrupt & tiny images
3. Enhance CLAHE contrast (critical for X-rays)
4. Denoise Gaussian blur
5. Split 70% train / 15% val / 15% test (stratified)
6. Augment Flip, rotate ±15°, brightness jitter (train only)
7. Normalize ImageNet mean / std normalization
Output: 224×224×3 tensors • 7 balanced classes • augmentation applied only to the training split

## Slide 5
Conditions Detected
7-CLASS CLASSIFICATION
Normal
Pneumonia
Tuberculosis
COVID-19
Lung Cancer
COPD
Pleural Effusion
Softmax output over 7 classes • input 224×224×3 • per-class confidence returned with each prediction

## Slide 6
Algorithm 1 — Custom CNN
BUILT FROM SCRATCH
• Type — Custom convolutional network, trained end-to-end
• Depth — 4 convolutional blocks (32 → 64 → 128 → 256 filters)
• Each block — Conv2D + BatchNorm + ReLU + MaxPool + Dropout
• Head — GlobalAvgPool → Dense(512) → Dropout(0.5) → Softmax
• Optimizer — Adam, learning rate 1e-4
• Loss — Sparse categorical cross-entropy
• Best for — Smaller, focused datasets
Layer Flow
• Input 224×224×3
• Conv Block 1 → 32 filters
• Conv Block 2 → 64 filters
• Conv Block 3 → 128 filters
• Conv Block 4 → 256 filters + GAP
• Dense 512 + Dropout 0.5
• Dense 7 + Softmax

## Slide 7
Algorithm 2 — ResNet50 Transfer Learning
PRETRAINED ON IMAGENET
• Base — ResNet50, 50-layer residual network
• Weights — Pretrained on ImageNet
• Head — GAP → Dense(1024) → Dense(512) → Softmax
• Phase 1 — Freeze base, train classifier head (10 epochs, LR 1e-3)
• Phase 2 — Unfreeze top 30 layers, fine-tune (LR 1e-5)
• Best for — Larger, diverse datasets
Two-Phase Strategy
• Load ResNet50 (ImageNet, no top)
• Phase 1: base frozen → learn head
• Phase 2: unfreeze top 30 layers
• Fine-tune with very low LR
• Callbacks: EarlyStopping,
• ReduceLROnPlateau, Checkpoint

## Slide 8
Model Comparison & Selection
AUTOMATIC BEST-MODEL PICK
Custom CNN
ResNet50
Approach
From scratch
Transfer learning
Depth
4 conv blocks
50 residual layers
Pretrained
No
ImageNet
Training
End-to-end
2-phase fine-tune
Strength
Small datasets
Large datasets
Selection Formula
• Composite score = 0.4 × F1 + 0.3 × Accuracy + 0.2 × AUC-ROC + 0.1 × Recall → higher score wins (ResNet50 typically on larger data)

## Slide 9
Evaluation & Metrics
HOW WE MEASURE QUALITY
Accuracy
Overall correct predictions
Precision
Correctness of positive calls
Recall
Coverage of actual positives
F1-Score
Balance of precision & recall
AUC-ROC
Class separability (macro OvR)
Confusion Matrix
Per-class error breakdown
Generated artifacts: training_results.json, training_curves.png, confusion_matrix_CNN.png, confusion_matrix_ResNet.png

## Slide 10
Technology Stack
TOOLS & FRAMEWORKS
Frontend
• React (SPA)
• React Router
• Axios
• Chart components
• Custom CSS
Backend
• FastAPI
• Uvicorn
• SQLAlchemy (async ORM)
• Pydantic
• Python 3.10+
ML & Data
• TensorFlow / Keras
• ResNet50 (ImageNet)
• scikit-learn
• OpenCV (CLAHE)
• NumPy, Matplotlib, Seaborn

## Slide 11
API & Database
INTERFACES AND STORAGE
• GET /api/v1/health — health check
• POST /api/v1/predict — upload image, get prediction
• GET /api/v1/predictions — list all predictions
• GET /api/v1/predictions/{id} — single prediction
• GET /api/v1/model-metrics — CNN vs ResNet metrics
• POST /api/v1/patients — register patient
• POST /api/v1/reports/generate/{id} — report
Database Schema
• patients — demographics & history
• lung_scans — uploaded image metadata
• predictions — CNN + ResNet results
• model_metrics — per-version metrics
• reports — generated reports

## Slide 12
Application Workflow
TYPICAL USER JOURNEY
1
Register / select a patient
2
Upload a chest X-ray image
3
Backend preprocesses the image (resize, CLAHE, normalize)
4
Selected model runs inference → 7-class probabilities
5
Top prediction + confidence shown in the UI
6
Result saved to history; report can be generated

## Slide 13
Challenges & Future Work
LIMITATIONS AND NEXT STEPS
Challenges
• Data quality & class imbalance
• Limited labeled medical images
• Risk of overfitting on small data
• Compute cost of training ResNet50
• Generalizing across X-ray machines
Future Work
• DICOM support via pydicom
• Grad-CAM explainability heatmaps
• GPU deployment (NVIDIA T4+)
• Larger datasets (5,000+ / class)
• Clinical validation & PDF reports

## Slide 14
Conclusion
• End-to-end system: data pipeline → two models → web app
• Custom CNN and ResNet50 trained, evaluated & auto-compared
• Best model selected via a weighted composite score
• Detects 7 lung conditions from chest X-rays
• Designed as a decision-support aid for clinicians
Thank you — Questions?