## Slide 1
LUNGAI
Robust Multi-Class Lung Disease Detection from Chest X-Ray Images Using Deep Learning and Cross-Source Generalization
Candidate: SATHWIK KATKAM (Roll No: 22011D0501) | Supervisor: Internal Guide, Assistant Professor
Department of Computer Science and Engineering • Jawaharlal Nehru Technological University Hyderabad • 2025–2026
Model D (DenseNet-121 Frequency V5) • V5 Canonical Dataset (N=10,547) • CXR Gate (tau=0.83) • FastAPI + React 18

## Slide 2
CLINICAL BOTTLENECK Clinical Problem & Healthcare Context
Thoracic Disease Burden
• Massive Global Impact: Lower respiratory infections, COVID-19, and tuberculosis rank among the top ten global causes of mortality.
• Universal First-Line Modality: Chest radiography (CXR) is the most ubiquitous imaging tool due to low radiation (~0.1 mSv) and low cost.
• Physical Imaging Limitations: Planar CXR collapses 3D thoracic anatomy into 2D projections, causing severe anatomical superimposition.
• Subtle Pathologies: Early ground-glass opacities, apical cavities, and solitary nodules are easily obscured by overlying ribs and vasculature.
Systemic Workflow Crises
• Acute Radiologist Shortages: In low- and middle-income regions, patient-to-radiologist ratios exceed 100,000:1, leaving emergency wards uncovered.
• Unprioritized PACS FIFO Queues: Emergency scans sit in First-In, First-Out worklists alongside routine pre-employment physical screenings.
• Severe Turnaround Delays: Diagnostic report backlogs routinely reach 24 to 72+ hours in public hospital reading rooms.
• High Disagreement Rates: Cognitive fatigue during extended shifts produces documented 15% to 30% inter-observer disagreement rates.
LungAI M.Tech Dissertation | Department of CSE, JNTUH

## Slide 3
OBJECTIVES & MOTIVATION Clinical Motivation & Research Vision
24–72 Hours
Conventional PACS FIFO Turnaround Delay
15%–30%
Radiologist Inter-Observer Disagreement Rate
< 1.5 Seconds
LungAI Automated Triage & Inference Latency
Clinical Decision Support Vision
• Rapid Pre-Screening: Instantly pre-screen incoming digital radiographs at the moment of digital acquisition.
• Dynamic Worklist Triage: Automatically stratify examinations into Emergency, Urgent, and Routine queues to expedite acute care.
• Explainable Visual Verification: Provide localized Grad-CAM heatmaps so clinicians can visually audit algorithmic focus.
• Human-in-the-Loop Protocol: Serve strictly as an assistive second reader to mitigate errors without replacing certified radiologists.
Technological Imperative
• Beyond Simple Accuracy: Transition from artificial single-dataset benchmarks to robust cross-source generalization.
• Defensive Perimeter: Intercept non-radiographic uploads via an automated two-stage validation gate.
• Auditable Engineering: Full-stack integration featuring relational persistence, patient entity linking, and automated reporting.
LungAI M.Tech Dissertation | Department of CSE, JNTUH

## Slide 4
SCIENTIFIC PROBLEM The Research Gap: Shortcut Learning & Domain Shift
The Illusion of High Accuracy
• Curated Single-Source Bias: Prior literature frequently reports >95%–99% accuracy on blended or single-center datasets.
• Shortcut Learning (Nature MI 2021): DeGrave et al. proved CNNs exploit lateral hospital markers ('L' vs 'R'), border cropping, and scanner noise rather than pathology.
• Severe Source-Label Confounding: In public multi-source pools, Cramér's V reaches 0.7654—pathologies originate predominantly from specific repositories.
• Catastrophic Deployment Drop: Models trained without frequency awareness suffer severe accuracy drops (>20%) when deployed on external scanners.
The LungAI Investigation
• Core Research Question: "Can a multi-source six-class CXR classifier learn representations that generalize across independent acquisition sources, and can domain generalization improve performance?"
• Multi-Paradigm Benchmark: Controlled comparison of ERM, Deep CORAL, DANN, Frequency Preprocessing, and Hybrid synthesis on identical data.
• Biophysical Frequency Analysis: Filtering high-frequency film digitizer grain (Laplacian variance 1,580 vs 373) in pixel space.
• Transparent Failure Disclosure: Disclosing and analyzing zero-shot external failure on the Montgomery County benchmark.
LungAI M.Tech Dissertation | Department of CSE, JNTUH

## Slide 5
METHODOLOGICAL GOALS Research Objectives & Project Scope
Specific Research Objectives
• 1. Dataset Forensics: Purge cross-modality contamination (692 CT slices) and eliminate patient identity leakage across 8 sources.
• 2. V5 Dataset Construction: Establish canonical V5 cohort: 10,547 images from 10,270 unique patients (0% patient leakage).
• 3. Domain Generalization Study: Empirically evaluate 5 learning paradigms (ERM, CORAL, DANN, Frequency, Hybrid) under identical DenseNet-121 backbone.
• 4. External Failure Audit: Deploy zero-shot on quarantined Montgomery cohort (N=138) to analyze digitizer sensor shift boundaries.
• 5. Defensive CXR Validation Gate: Implement two-stage gate (Stage 1 biophysical + Stage 2 semantic at tau=0.83) to intercept non-CXR inputs.
• 6. Full-Stack Clinical Platform: Deploy asynchronous FastAPI ASGI backend + React 18 frontend with deterministic urgency triage.
Defined Project Scope & Boundaries
• 6 Active Radiographic Classes: COVID-19, Normal, Pleural Effusion, Pneumonia, Pulmonary Nodule / Mass, and Tuberculosis.
• Nodule / Mass Designation: Formally designated as 'Pulmonary Nodule / Mass' rather than 'Lung Cancer' (radiographic findings vs. histological biopsy).
• Planar CXR Focus: Operates exclusively on planar frontal (PA/AP) chest radiographs; lateral views reserved for future extension.
• Academic Decision Support: Engineered as an auditable research prototype; does not claim autonomous clinical diagnostic clearance.
• Mandatory Human-in-the-Loop: All predictions require independent verification by licensed medical practitioners.
LungAI M.Tech Dissertation | Department of CSE, JNTUH

## Slide 6
PUBLISHED EVIDENCE Literature Survey & Methodological Positioning
• Rajpurkar et al. (CheXNet, 2017): DenseNet-121 on NIH ChestX-ray14 (112k scans). Proved DenseNet feature reuse; single-center NLP label noise.
• Fernando et al. (IEEE ICARC 2022): ResNet50 / MobileNetV2 on 3 classes (Normal, Pneumonia, COVID). Reported 98.87% acc on simple pooled Kaggle data without domain evaluation.
• Mahesh & Kumar (IEEE TEECCON 2023): DenseNet121 vs ResNet50 on 4-class Kaggle data. Demonstrated checkpointing and learning rate decay importance.
• Charan et al. (IEEE Access 2024): ResNet50 (97.1%) & EfficientNet (96.3%) with LBP texture features on fused data without controlling for source confounding.
• Dagnaw & El Mouthadi (ICT4DA 2023): Lightweight CNN with CLAHE and Score-CAM explainability for pneumonia and tuberculosis.
• Deva & Dagur (IEEE Access 2025): ViT-ResNet hybrid framework (98.54% internal acc); observed 4.47% accuracy drop on external cross-dataset evaluation.
• Akyol & Bilgin (IEEE UBMK 2025): Hybrid CNN-Transformer DANN for robust pneumonia classification across heterogeneous CXR datasets.
• LungAI Model D (This Thesis, 2026): DenseNet-121 + Gaussian LP (sigma=1.0) on leak-free 6-class V5 cohort (10,547 scans). 82.93% acc, 78.35% F1, 0.9755 ROC-AUC; complete external failure analysis.
*Note: Reported metrics are not directly comparable due to divergent datasets, classes, and protocols.*

## Slide 7
SYSTEM DESIGN Proposed System Architecture & Topology
Presentation Tier (React 18)
• Modern SPA: Built with React 18, Vite, and custom CSS design tokens (no CSS bloat).
• Diagnostic Viewport: Interactive DICOM-style canvas windowing: pan, zoom, contrast, and brightness.
• Real-Time Explainability: Dynamic Grad-CAM overlay slider with side-by-side inspection.
• Clinical Dashboards: Patient management, scan history audit log, and scientific metrics view.
Service Tier (FastAPI REST)
• Asynchronous ASGI: High-throughput asynchronous event loop under Uvicorn.
• Two-Stage CXR Gate: Stage 1 biophysical filtering + Stage 2 semantic classifier at tau=0.83.
• Singleton Inference: Pre-warmed Model D engine in GPU memory (<120 ms latency).
• Urgency Stratification: Deterministic clinical triage mapping: Emergency, Urgent, Routine.
Persistence Tier (SQLAlchemy)
• Relational 3NF Schema: Normalized tables: Patients, Scans, Predictions, and Reports.
• Cryptographic Integrity: SHA-256 image byte hashing prevents scan tampering.
• Privacy-Conscious: UUIDv4 identifiers; DICOM header sanitization.
• Auditability: Complete execution time, probability simplex, and timestamp logging.
LungAI M.Tech Dissertation | Department of CSE, JNTUH

## Slide 8
DATA FORENSICS Dataset Forensic Reconstruction: V1 to V5
692 Slices
Cross-Modality CT Slices Disclosed & Purged
1,257 Scans
Exact & Perceptual Duplicates Removed
0.0% Leakage
Strict Patient-Level Partitioning Enforced
Forensic Milestones Across Iterations
• V1 (13,102 Scans): Uncovered 692 axial CT slices in 'Lung Cancer' class and severe patient identity overlap across Kaggle folders.
• V2 (11,845 Scans): Purged 1,257 duplicate image files via SHA-256 hashing; standardized image naming conventions.
• V3 (12,410 Scans): Purged 100 benign solitary nodules from JSRT; integrated high-resolution TBX11K tuberculosis cohort.
• V4 (10,864 Scans): Completely eliminated all cross-modality CT slices; finalized planar CXR scope.
• V5 Canonical Benchmark: 10,547 scans from 10,270 unique patients across 8 repositories. Renamed class to 'Pulmonary Nodule / Mass'. Enforced strict patient-level split (0% leakage). Quarantined Montgomery benchmark (N=138).
LungAI M.Tech Dissertation | Department of CSE, JNTUH

## Slide 9
DATASET SPECIFICATION Canonical V5 Dataset: Multi-Source Composition
Diagnostic Class Distribution (N=10,547)
• Pneumonia: 2,805 scans (26.60%) — lobar, bronchial, and interstitial consolidations
• Normal: 2,636 scans (24.99%) — verified healthy controls without active infiltrates
• COVID-19: 1,942 scans (18.41%) — bilateral, peripheral ground-glass opacities
• Tuberculosis: 1,348 scans (12.78%) — apical fibro-cavitary lesions and infiltrates
• Pleural Effusion: 1,062 scans (10.07%) — costophrenic angle blunting and fluid meniscus
• Pulmonary Nodule / Mass: 754 scans (7.15%) — discrete radiopaque parenchymal lesions
Multi-Source Harmonization & Splitting
• 8 International Sources: TBX11K (3,277), Existing COVID (1,942), VinDr-CXR (1,467), Existing Pneumonia (1,395), Existing Normal (1,199), Existing TB (665), NIH (457), JSRT (145).
• Patient-Strict Train Split: 7,398 scans / 7,189 patients (70.14%) — 0% patient leakage
• Patient-Strict Validation: 1,579 scans / 1,540 patients (14.97%) — 0% patient leakage
• Patient-Strict Test Split: 1,570 scans / 1,541 patients (14.89%) — 0% patient leakage
• Source Confounding: Cramér's V = 0.7654 (severe association between source and pathology, proving shortcut risk).
LungAI M.Tech Dissertation | Department of CSE, JNTUH

## Slide 10
AI MODEL SPECIFICATION Model D Architecture & Biophysical Preprocessing
Deterministic Preprocessing Pipeline
• 1. Decoupling: BGR to CIE LAB color space; isolates luminance (L) from chrominance.
• 2. Contrast Equalization: CLAHE on L channel (clip limit 2.0, 8x8 grid) sharpens subtle opacities without color artifacts.
• 3. Gaussian Low-Pass Filter: Spatial filtering (sigma = 1.0, 3x3 kernel) attenuates high-frequency scanner noise and digitizer grain shortcuts.
• 4. High-Order Resampling: Lanczos-4 spatial interpolation to standardized 224x224 pixels.
• 5. Normalization: Channel-wise ImageNet standardization (mean=[0.485, 0.456, 0.406], std=[0.229, 0.224, 0.225]).
DenseNet-121 + Bottleneck Topology
• Dense Feature Reuse: 121 layers across 4 dense blocks; growth rate k=32; 7.04M base params.
• Target Layer: Layer `conv5_block16_concat` (1,024 channels) targeted for Grad-CAM.
• Global Average Pooling: Reduces 7x7 spatial maps to 1,024-dimensional feature vector.
• Batch Normalization: Normalizes latent feature activations; stabilizes multi-source training.
• Dense Projection Head: Dense(256, ReLU) bottleneck establishing compact latent manifold.
• Regularization & Output: Dropout(0.3) + Dense(6, Softmax) outputting probability simplex.
Total Parameters: 7,305,542 | File Size: 28.71 MB | Inference Latency: <120 ms (GPU)

## Slide 11
RESEARCH METHODOLOGY Experimental Protocol: Controlled 5-Paradigm Study
Controlled Experimental Conditions
• Identical Cohort: All paradigms trained on identical V5 training split (7,398 scans) and evaluated on identical test split (1,570 scans).
• Identical Backbone: DenseNet-121 ImageNet-initialized weights used across all 5 models.
• Identical Latent Space: 256-dimensional dense bottleneck projection with Batch Normalization.
• Inverse-Frequency Weights: Cost-sensitive loss weighting applied across all models to handle class imbalance.
• Strict Random Seed: Seed 42 enforced across Python, NumPy, and TensorFlow.
• 2-Phase Training Schedule: Phase 1: 2 epochs base frozen (lr=1e-3); Phase 2: 2 epochs top 30 layers fine-tuned (lr=1e-5).
The 5 Evaluated Paradigms
• Phase 3B: ERM Baseline: Standard Empirical Risk Minimization with weighted cross-entropy.
• Phase 4B: Deep CORAL: Minimizes Frobenius norm distance between source second-order feature covariances (weight lambda=0.5).
• Phase 4C: DANN Adversarial: Domain-Adversarial Neural Network with Gradient Reversal Layer.
• Phase 4D: Frequency-Aware: Gaussian spatial low-pass filtering (sigma=1.0) directly in input space (Model D).
• Phase 4E: Hybrid Synthesis: Combines Gaussian spatial low-pass filtering with Deep CORAL covariance alignment.
LungAI M.Tech Dissertation | Department of CSE, JNTUH

## Slide 12
EMPIRICAL RESULTS Master Five-Paradigm Experimental Comparison
• Phase 3B — ERM Baseline: Accuracy: 76.18% | Macro F1: 72.63% | ROC-AUC: 0.9600 | PR-AUC: 0.7927 | Montgomery TB Recall: 0.00%
• Phase 4B — Deep CORAL: Accuracy: 80.89% | Macro F1: 76.85% | ROC-AUC: 0.9671 | PR-AUC: 0.8224 | Montgomery TB Recall: 1.72% (+4.22% F1 over ERM)
• Phase 4C — DANN Adversarial: Accuracy: 76.24% | Macro F1: 72.99% | ROC-AUC: 0.9603 | PR-AUC: 0.7915 | Montgomery TB Recall: 0.00% (Failed to improve over ERM)
• Phase 4D — Frequency Preprocessing (Model D): Accuracy: 82.93% | Macro F1: 78.35% | ROC-AUC: 0.9755 | PR-AUC: 0.8391 | Montgomery TB Recall: 0.00% (DECISIVE WINNER)
• Phase 4E — Hybrid (LP + CORAL): Accuracy: 78.22% | Macro F1: 73.95% | ROC-AUC: 0.9609 | PR-AUC: — | Montgomery TB Recall: 0.00% (Did not beat frequency alone)
• Scientific Finding 1: Deep CORAL demonstrated that latent covariance alignment improves internal multi-source generalization (+4.22% F1).
• Scientific Finding 2: DANN minimax adversarial training proved unstable, degrading disease-discriminative representations.
• Scientific Finding 3: Model D (Frequency Preprocessing) achieved the peak internal performance (+5.72% F1 over baseline), designated as production engine.
Model D selected through evidence-driven arbitration rather than choosing the most complex architecture.

## Slide 13
MODEL D METRICS Final Model D Class-Wise Performance (Internal Test)
82.93%
Overall Test Accuracy
78.35%
Macro F1-Score (+5.72%)
0.9755
Macro ROC-AUC
0.8391
Macro PR-AUC
Class-Wise Metric Breakdown (N=1,570 Scans)
• COVID-19 (N=292): Precision: 99.64% | Recall: 94.52% | Specificity: 99.92% | F1-Score: 97.01% (Near-perfect viral detection)
• Normal (N=394): Precision: 90.86% | Recall: 88.32% | Specificity: 97.02% | F1-Score: 89.58% (High specificity on healthy controls)
• Tuberculosis (N=201): Precision: 91.98% | Recall: 85.57% | Specificity: 98.90% | F1-Score: 88.66% (Sharp localization of apical cavities)
• Pneumonia (N=423): Precision: 94.92% | Recall: 79.43% | Specificity: 98.43% | F1-Score: 86.49% (Strong precision; some effusion overlap)
• Pleural Effusion (N=152): Precision: 60.00% | Recall: 51.32% | Specificity: 96.33% | F1-Score: 55.32% (Challenging fluid blunting)
• Pulmonary Nodule / Mass (N=108): Precision: 38.49% | Recall: 85.19% | Specificity: 89.95% | F1-Score: 53.03% (High sensitivity; catches 92/108 nodules)
Macro Precision: 79.31% | Macro Recall: 80.73% | Weighted F1: 84.18%

## Slide 14
EXTERNAL BOUNDARY External Generalization: The Montgomery Failure Audit
100.0%
Binary Abnormal Sensitivity (58/58 TB)
0.00%
Exact Tuberculosis Recall (0/58 TB)
4x Discrepancy
Laplacian Edge Variance (1,580 vs 373)
Zero-Shot Evaluation Results (N=138)
• Untouched Benchmark: 138 scans (58 active TB, 80 normal controls) from Montgomery County, Maryland.
• Binary Safety Intact: 100% of active TB cases flagged as abnormal (0 false negatives).
• Fine-Grained Collapse: TB exact recall collapsed to 0%; Normal specificity collapsed to 0%.
• Dominant False Class: 86.2% of TB scans and 100% of Normal scans collapsed into Pulmonary Nodule / Mass.
• High Misplaced Confidence: Mean maximum predicted probability was 0.8691.
Biophysical Root-Cause Analysis
• Scanned Film vs Digital DR: Montgomery scans are digitized analog films; V5 scans are direct digital radiographs.
• Laplacian High-Frequency Grain: Mean edge variance is ~4x higher in Montgomery (1,580.2 vs 373.4) due to film grain and digitizer noise.
• Texture Confusion: Convolutional kernels mistook high-frequency film grain for nodular parenchymal opacities.
• Critical Scientific Caveat: Substantial source-dependent distribution differences were associated with failure; causal attribution to any single factor is not established.
Transparently proves that external domain transfer across radical sensor shifts remains an open scientific challenge.

## Slide 15
INPUT SAFETY Defense-in-Depth: Two-Stage CXR Validation Gate
Two-Stage Perimeter Architecture
• Stage 1 (Biophysical Screening): Evaluates resolution (min 32x32), aspect ratio (<=2.2:1), luminance variance (std >=10.0), and polychromatic saturation (>15% high-sat pixels across >=3 hue bands). Intercepts color photos and blank documents.
• Stage 2 (Semantic Classifier): Binary DenseNet-121 classifier trained to recognize thoracic skeletal and mediastinal anatomy at production threshold tau = 0.83.
• The Cat Test Case Defect: At tau = 0.70, a cat photo scored 0.822 and leaked through. Threshold audit corrected tau = 0.83, successfully intercepting adversarial inputs.
• Combined Screening Result: Intercepted 100% of tested non-radiographic uploads (13/13 representative test suite).
Forensic Results & Mandatory Disclosure
• 125-Image Evaluation Cohort: 48 genuine CXR scans + 77 non-CXR images (CT slices, color photos, grayscale images, documents).
• Authentic CXR Pass Rate: 48 / 48 genuine CXRs passed both stages (100% sensitivity; 0 false rejections).
• Non-CXR Rejection Rate: 77 / 77 non-CXR images rejected (100% specificity; ROC-AUC 1.0000).
• CRITICAL METHODOLOGICAL DISCLOSURE: Threshold tau = 0.83 was selected on the same 125-image evaluation cohort. Consequently, reported 100% metrics represent functional verification estimates rather than unbiased estimates of generalization.
• Clinical Impact: Safely protects Model D from out-of-distribution contamination.
backend/ml/cxr_gate.py | PRODUCTION_CXR_THRESHOLD = 0.83

## Slide 16
CLINICAL INTERPRETABILITY Explainable AI: Real-Time Grad-CAM Saliency
Mathematical Formulation & Target Layer
• Target Convolutional Layer: Attached directly to `conv5_block16_concat` (1,024 channels), the final dense feature representation before pooling.
• Neuron Importance Weights: Gradients of predicted class score Y^c are globally pooled: alpha_k^c = (1/Z) sum sum (dY^c / dA^k).
• Rectified Linear Activation: L_GradCAM = ReLU(sum alpha_k^c A^k) ensures only positive pathological evidence is visualized.
• Dynamic Heatmap Rendering: Upsampled to 224x224, mapped via COLORMAP_JET, and alpha-blended (alpha=0.45) over the patient's radiograph.
• Zero Bounding-Box Overhead: Achieves precise anatomical localization without requiring labor-intensive bounding-box annotations during training.
Radiological Verification Patterns
• Pneumonia Verification: Focal heatmaps concentrate over dense unilateral alveolar consolidations and air bronchograms.
• COVID-19 Verification: Bilateral, multifocal heatmaps highlight peripheral and subpleural ground-glass opacities.
• Tuberculosis Verification: Heatmaps localize sharply over apical fibro-cavitary architectural distortions.
• Clinical Trust & Auditability: Allows attending clinicians to verify whether predictions stem from true parenchymal lesions rather than digital shortcuts.
• Interactive UI Control: Clinicians can adjust heatmap opacity and toggle side-by-side inspection in the web viewport.
LungAI M.Tech Dissertation | Department of CSE, JNTUH

## Slide 17
SOFTWARE DEPLOYMENT Full-Stack Application & Clinical Urgency Triage
Deterministic Urgency Stratification
• Emergency Tier (Priority 1): Pneumonia p >= 0.70, COVID-19 p >= 0.70, or any acute finding p >= 0.85. Flags acute respiratory failure risk for immediate evaluation.
• Urgent Tier (Priority 2): Tuberculosis p >= 0.50 (isolation), Pleural Effusion p >= 0.50 (thoracentesis), Pulmonary Nodule / Mass p >= 0.40 (oncology workup).
• Routine Tier (Priority 3): Normal p >= 0.60 or indeterminate multi-class distributions. Standard elective radiologist review.
• PACS Queue Impact: Dynamically reorganizes reading lists, ensuring life-threatening opacities are reviewed within minutes.
Enterprise Microservice Implementation
• Asynchronous REST API: FastAPI ASGI backend exposing validated RESTful endpoints under `/api/v1/`.
• Interactive DICOM Viewport: Hardware-accelerated canvas windowing, zoom (1x–4x), panning, and contrast adjustments.
• Automated Clinical Reporting: Synthesizes structured PDF summaries with embedded Grad-CAM overlays and mandatory disclaimers.
• Relational Data Persistence: SQLAlchemy ORM managing normalized schemas for patients, scans, predictions, and audit logs.
Decoupled 3-Tier Architecture: React 18 SPA • FastAPI ASGI • SQLite/PostgreSQL ORM

## Slide 18
SOFTWARE TESTING Software Verification & Quality Assurance Suite
44 / 44
Automated Pytest Suite Passed
100%
Test Pass Rate (0 Failures, 0 Errors)
< 120 ms
GPU Forward Inference Latency
0 Bytes
Patient Identity Leakage Detected
Automated Test Coverage Breakdown (Pytest 7.4)
• Preprocessing Suite (6 Tests): Verified output tensor shape (1, 224, 224, 3), corrupt byte handling, CLAHE dynamic range expansion, Gaussian LP energy attenuation, and ImageNet standardization.
• Model & Inference Suite (9 Tests): Verified singleton weights loading, 6-class softmax probability conservation (sum = 1.0), top-class index matching, and Emergency/Urgent/Routine triage rules.
• CXR Validation Gate Suite (8 Tests): Verified Stage 1 dimension/aspect ratio/saturation checks, Stage 2 semantic screening, adversarial cat test case rejection, and fallback symmetry scoring.
• REST API & Routers Suite (7 Tests): Verified `/api/v1/health`, multipart upload handling, payload ceilings (10 MB), invalid file extensions, and corrupt byte exceptions.
• Patient Management Suite (6 Tests): Verified UUIDv4 profile creation, duplicate MRN conflict prevention, paginated queries, and cascading delete integrity.
• Reports & Database Suite (8 Tests): Verified atomic transaction rollback, foreign key constraints, JSON/PDF report generation, CORS headers, and latency logging.
Replaces historical 22-test baseline with comprehensive 44-test production verification suite.

## Slide 19
RESEARCH IMPACT Ten Core Scientific & Engineering Contributions
Scientific & Empirical Contributions
• 1. Forensic Dataset Harmonization: Constructed canonical V5 cohort (10,547 scans, 10,270 patients) across 8 sources with verified 0% patient leakage.
• 2. Source Confounding Quantification: Audited Cramér's V (0.7654), documenting severe shortcut risk in public CXR collections.
• 3. Controlled Domain Generalization: Head-to-head comparison of 5 paradigms under identical DenseNet-121 backbone and training schedules.
• 4. Evidence-Driven Model Selection: Model D achieved peak internal performance (82.93% acc, 78.35% F1, 0.9755 ROC-AUC) via frequency filtering.
• 5. Negative Results Disclosure: Documented that DANN (76.24%) and Hybrid (78.22%) failed to beat frequency filtering alone.
Methodological & Engineering Contributions
• 6. External Failure Root-Cause Analysis: Disclosed Montgomery failure (0% TB recall); linked collapse to 4x higher Laplacian edge variance in scanned film.
• 7. Two-Stage CXR Validation Gate: Engineered biophysical + semantic gate at tau=0.83, intercepting 100% of tested non-radiographic uploads.
• 8. Threshold Leakage Disclosure: Transparently disclosed gate threshold selection on evaluation cohort, upholding academic honesty.
• 9. Visual Saliency Explainability: Integrated Grad-CAM targeting `conv5_block16_concat` for verifiable anatomical lesion auditing.
• 10. Full-Stack Clinical Web Platform: Delivered responsive React 18 SPA + FastAPI backend + SQLAlchemy ORM with 44/44 passed tests.
LungAI M.Tech Dissertation | Department of CSE, JNTUH

## Slide 20
METHODOLOGICAL BOUNDS Academic & Clinical Scope Limitations
Empirical & Machine Learning Limitations
• External Montgomery Collapse: 0% exact TB recall on external scanned film benchmark due to radical sensor shift and film grain.
• Source-Class Confounding: Public datasets exhibit Cramér's V = 0.7654; certain conditions originate from single repositories.
• Class Imbalance: 2,805 Pneumonia vs 754 Nodule scans; minority classes exhibit lower F1 (53.03% Nodule, 55.32% Effusion).
• Diagnostic Ambiguity of Planar Nodules: High nodule sensitivity (85.19%) accompanied by lower precision (38.49%) due to rib crossings.
• Single-Label Formulation: Enforces single-class softmax, oversimplifying complex multi-pathology co-occurrences (e.g., Pneumonia + Effusion).
• Fixed 224x224 Resolution: Spatial downsampling may attenuate subtle micro-nodules or fine apical cavitation lines.
Validation & Clinical Governance Limitations
• Gate Threshold-Selection Leakage: Threshold tau = 0.83 was selected on the 125-image evaluation cohort; 100% metrics represent functional verification.
• Small Gate Evaluation Size: 125 images cannot capture the full global distribution of non-radiographic uploads.
• No Empirical Probability Calibration: Model D softmax probabilities were not calibrated via temperature scaling.
• Heuristic Urgency Triage Rules: Triage tiers represent application research logic, not prospectively validated clinical guidelines.
• No Prospective Clinical Trials: Evaluated strictly on retrospective datasets; lacks real-world hospital ward trial data.
• No Radiologist Multi-Reader Study: Has not undergone head-to-head multi-reader multi-case (MRMC) comparison against certified radiologists.
Complete disclosure of 18 limitations upholds rigorous scientific integrity.

## Slide 21
FUTURE WORK Prioritized Future Enhancements Roadmap
Near-Term Research Priorities (Tiers 1 & 2)
• Independent Multi-Center Gate Validation: Evaluate gate against >5,000 diverse non-CXR medical/non-medical images with split-isolated threshold selection.
• Post-Hoc Probability Calibration: Implement temperature scaling and Platt scaling to minimize Expected Calibration Error (ECE).
• Multi-Label Classification Head: Transition to binary cross-entropy multi-label targets to support co-occurring pathologies (e.g., Pneumonia + Effusion).
• Anatomical Lung Field Segmentation: Train U-Net/SegFormer to mask thoracic lung fields prior to inference, suppressing peripheral shortcuts.
Medium- & Long-Term Priorities (Tiers 3 & 4)
• Weakly Supervised Lesion Localization: Integrate Grad-CAM++ and bounding-box regression heads for millimeter-level nodule localization.
• Prospective Multi-Reader Study: Conduct MRMC clinical trial measuring radiologist turnaround acceleration and diagnostic accuracy with LungAI.
• Enterprise PACS / DICOM Protocol: Implement native DICOM C-STORE and DIMSE network adapters for hospital PACS integration.
• Federated Multi-Hospital Learning: Deploy privacy-preserving Federated Averaging across multi-center hospital nodes without centralizing scans.
LungAI M.Tech Dissertation | Department of CSE, JNTUH

## Slide 22
THESIS SYNTHESIS Conclusion & Executive Summary
Resolution of Core Research Questions
• Internal Generalization Decisively Proven: Frequency-aware preprocessing achieved 82.93% accuracy, 78.35% macro F1, and 0.9755 ROC-AUC (+5.72% F1 over baseline).
• Covariance Alignment Effective: Deep CORAL demonstrated that latent covariance alignment improves internal multi-source representation learning.
• Adversarial Adaptation Limitations: DANN failed to outperform baseline, proving minimax adaptation is not universally beneficial in medical imaging.
• Sensor Shift Remains a Barrier: Montgomery zero-shot collapse (0% TB recall) proves digitized film vs digital detector shift requires target calibration.
Enduring Engineering Principles
• Forensics Precedes Architecture: Eliminating CT contamination and patient leakage is fundamental to scientific validity.
• Input Defense is Mandatory: Perimeter validation gates are essential for preventing dangerous false predictions on non-CXR inputs.
• Transparency Builds Trust: Honest disclosure of failure modes elevates medical AI research above unrealistic marketing claims.
• Complete Full-Stack Realization: Bridging deep learning theory with responsive, auditable clinical software creates a viable reference architecture.
LUNGAI: A Rigorous, Auditable, and Reproducible M.Tech Research Project

## Slide 23
VERIFIED IEEE & PUBMED SOURCES Key Bibliographic References
• WHO (2020): The top 10 causes of death. WHO Global Health Estimates, Geneva, Switzerland.
• Kermany et al. (Cell 2018): Identifying medical diagnoses and treatable diseases by image-based deep learning. Cell, 172(5), pp. 1122–1131.
• Chowdhury et al. (IEEE Access 2020): Can AI help in screening viral and COVID-19 pneumonia? IEEE Access, vol. 8, pp. 132665–132676.
• Rahman et al. (IEEE Access 2020): Reliable tuberculosis detection using chest X-ray with deep learning and visualization. IEEE Access, 8, pp. 191586–191601.
• Rajpurkar et al. (CheXNet 2017): CheXNet: Radiologist-level pneumonia detection on chest X-rays with deep learning. arXiv:1711.05225.
• He et al. (IEEE CVPR 2016): Deep residual learning for image recognition. In Proc. IEEE CVPR, pp. 770–778.
• Huang et al. (IEEE CVPR 2017): Densely connected convolutional networks. In Proc. IEEE CVPR, pp. 4700–4708.
• DeGrave et al. (Nature MI 2021): AI for radiographic COVID-19 detection selects shortcuts over signal. Nature Machine Intelligence, 3(7), pp. 610–619.
• Selvaraju et al. (IEEE ICCV 2017): Grad-CAM: Visual explanations from deep networks via gradient-based localization. In Proc. IEEE ICCV, pp. 618–626.
• Sun & Saenko (ECCV 2016): Deep CORAL: Correlation alignment for deep domain adaptation. In Proc. ECCV Workshops, pp. 443–450.
• Fernando et al. (IEEE ICARC 2022): Chest radiographs classification using multi-model deep learning. In Proc. IEEE ICARC, pp. 165–170.
• Deva & Dagur (IEEE Access 2025): ViT-ResNet Fusion: An explainable hybrid framework for multiclass lung disease classification. IEEE Access, vol. 13.
Complete 36-reference bibliography documented in thesis dissertation.